## Slide 1: HIGH-PERFORMANCE ATOM INTERFEROMETRY IN HARMONIC TRAPS
Cass Sackett
University of Virginia

## Slide 2: Topics
Bragg interferometer gyroscope in a TOP trap
Noise limitations and modeling
Quantum vs. semi-classical phase calculation
Current status and plans

## Slide 3: Trapped atoms for interferometry
Pros:
  Compact apparatus, no free fall distance
  Confined wave packets don’t expand
Supports long interrogation times
Cons:
  Get phase noise from trapping fields
  Requires BEC
Try to minimize resulting problems
Understand when trapped atoms are beneficial

## Slide 4: BIGTOP concept
y
x
Cylindrical harmonic trap
Start at rest, center of trap
Bragg kick
Move to
Bragg split
Travel around circle
Recombine
Detect interference
  - fraction of atoms brought to rest

## Slide 5: Dual interferometers
Actually two simultaneous interferometers
Rotation phase is differential
Most other effects common
  Acceleration
  Bragg laser noise
  Trapping potential
y
x

## Slide 6: Phase determination
Two interferometers, signals
  Both noisy
Extract differential phase :
  Plot vs  ellipse
  Fit ellipse to get phase, visibility
Absorption image:

## Slide 7: Interferometer movie
1 mm
mirror
atoms
probe
laser
to camera
y
x

## Slide 8
1 mm
mirror
atoms
probe
laser
to camera
Interferometer movie

## Slide 9: Interference
one orbit:
two orbits:
Visibility = 0.51
Phase = 1.47(3) rad
Visibility = 0.2
Phase = 1.8(5) rad
Noise:

## Slide 10: Rotation sensing
Observe Sagnac effect by rotating table:
rad
Nominal sensitivity
Shot noise rad
 rad/s
About 100x smaller than earth rotation rate

## Slide 11: Noise Performance
Run for 24 hours, get large data set
One-orbit data, appx 1000 runs:
Allen deviation rad/Hz
  About 1 rad per run
About 100 shot noise
80 s per run

## Slide 12: Noise source?
Many possibilities:
  Phase noise from trap
  Detection/imaging
  Bragg laser fluctuations
  BEC production
  Motion of initial BEC
  Ellipse fitting procedure
Appears to be phase noise from trap
Data:
Simulation with phase noise:

## Slide 13: Noise modeling
In perfect trap, all noise is common mode
Imperfect trap example:
Gives net differential phase
If and fluctuates, get phase noise
y
x

## Slide 14: Noise modeling
Can set in experiment
  Estimate from observing trajectories
Observe using long oscillations
  Attribute to current driver noise
Leads to rad, reasonable agreement

## Slide 15: Phase calculation
How did we calculate
Semi-classical model:
and are classical particle trajectories for two arms

## Slide 16: Phase calculation
Evaluate for both interferometers
Differential phase is
Include many possible error terms:
Numerically evaluate sensitivities, fit to analytic formulas
Bragg beam angles
Timing errors
Terms to 4th order

## Slide 17: Semiclassical phase errors
Second-order dependence on many terms
# orbits
here
Most terms involve anharmonicity

## Slide 18: Anharmonicity
Measure by observing atom trajectories
Large terms:
0.12 (6) | 0.09 (1) | -0.0030(3) | 0.016(5)
0.12 (6) | 0.09 (1) | -0.0030(3) | 0.016(5)
mm
(m)
(m)

## Slide 19: Anharmonicity
Anharmonic terms contribute to measured phase
  Estimate bias phase rad
  Trap stability 
Most noise comes from timing errors and ( term)
Anharmonic terms become more important at larger
  Want larger to improve Sagnac sensitivity
Clearly, should work to reduce
Question: is semiclassical calculation adequate?

## Slide 20: Semiclassical approximation
SC is exact in harmonic trap with no interactions
  Can model packets as coherent states, evolve classically
 We have anharmonicities, interactions
Can model quantum behavior numerically
  Challenging over large spatial volume
  Mark Edwards: variational Gaussian approach
Analytical results nice
  Possible without interactions?

## Slide 21: Beyond semiclassical
Consider 1D problem
Apply standard perturbation theory methods
Interaction picture
Evolution operator
  time ordered operators

## Slide 22: Generalized coherent states
Basis states for calculation
is th eigenstate of harmonic oscillator
is normal displacement operator
  Oscillating version of
Properties:
classical position

## Slide 23: Beyond semiclassical
Time evolution
Then
  Total of nine terms: three from each operator
We have
Semiclassical: keep terms to zero order in

## Slide 24: Cubic phase
Say
Get phase
First line is semiclassical, second is quantum correction
Gets complicated quickly beyond first order

## Slide 25: Quantum corrections
Generically, get phase
= phase evolution in harmonic oscillator
scales as
same for quantum and semiclassical
= semiclassical contributions from anharmonicity
scales as
= quantum correction to semi-classical
scales as
Our experiment: , ,

## Slide 26: Current status and improvements
Quantum effects small enough to ignore
  (for now)
Focus on improving sensitivity and stability
Working to implement atom chip system
  Better control over trap potential
  Faster BEC production
  Avoid eddy currents
Tried to implement with new compact vacuum/optical system
  Limited success
35 mm

## Slide 27: Apparatus
Existing system has coils in vacuum, mounted on SS flange
Change to coils in air, atoms in glass cell

## Slide 28: Apparatus
Transfer atoms to coil using optical tweezers
Aim for bigger condensates as well

## Slide 29: Performance goals
Trap frequency 3.3 Hz  2.0 Hz
  Enclosed area 2.7 mm2
# orbits 2  5
  Sagnac area 54 mm2
Cycle time 80 s  5 s
Trap stability
Trap asymmetry 
Would give ARW parameter deg/hr, bias stability deg/hr
Better than unclassified INS sensors
Phase noise  0.02 rad/shot

## Slide 30: Conclusions
Demonstrate good interferometer performance with trapped atoms
  Coherence over mm distance, seconds time
See significant technical noise
  Understand how to improve
Assessed adequacy of semi-classical approximation
Implementing new system based on atom chip

## Slide 31: Credits
Current:
  Marybeth Beydler
  Liz Larson
  Zekun Chu
  Valeria Ramirez Cruz
  Itzal de Urioste Terrazas
Former:
  Eddie Moan
  Adam Fallon
  Zhe Luo
  Bob Leonard
Collaborators:
  Jason Williams (JPL)
  Rob Thompson (JPL)
  Eric Imhof (Northrop)
  Mark Edwards (GSU)
  Tom Gallagher (UVA)

## Slide 32: Credits
Postdoc: Eddie Moan
Grad students: Marybeth Beydler, Seth Berl, Zhe Luo
Undergrads: Aaron Osborne, Malcolm Schlossberg
Collaborators:
Funding:
Eric Imhof (Northrop Grumman)
Evan Salim (ColdQuanta)
Jim Stickney (Space Dynamics Lab)
Mark Edwards (GSU)